## Slide 1
Philipp Sommer, M.D., FHRS, FESC
Heart Center University Leipzig
Dept. of electrophysiology
SCMR pre-conference workshop 28.1.2016 Los Angeles
How to start an
Electrophysiology iCMR program
Notes: 1

## Slide 2
Disclosures:
Lecture fees and/or travel grants within the last 12 months by
  St. Jude Medical, Biosense Webster
  Siemens Healthcare, Abbott Medical
  Biotronik, Imricor
  Boehringer Ingelheim/Bayer/Pfizer/BMS/Daiichi Sankyo.
Member of advisory board or consultant for
  St. Jude Medical
  Boehringer Ingelheim
  Daiichi Sankyo
Research grants from
  St. Jude Medical
  Imricor
How to start an Electrophysiology iCMR program
Notes: 2

## Slide 3
What do you need?
1.) Objective
2.) Scanner
3.) EP equipment
4.) Patients
5.) Patience
How to start an Electrophysiology iCMR program
Notes: 3

## Slide 4
„Substrat-based“ interventions @ HCL
How to start an Electrophysiology iCMR program

## Slide 5
CMR can target the procedure
Images:
iCMR Heart Center Leipzig
How to start an Electrophysiology iCMR program
Notes: „max.“ T1 Wichtung…

## Slide 6
cine: normal wall motion
scar: epicardial lateral scar
T1: no myocardial fat
T2: no edema
cine
T1
T2
scar
Images:
iCMR Heart Center Leipzig
CMR pre-ablation: epicardial scar
How to start an Electrophysiology iCMR program
Notes: In T2 „kein Wasser“- daher keine –itis.

## Slide 7
© by A. Berruezo & Lluis Serra, Galgo Medical
CMR pre-ablation: epicardial scar
How to start an Electrophysiology iCMR program
Notes: Nur Reko auswärts !! Software bald bei uns !

## Slide 8
Induction of clinical VT with epicardial origin
EP study:
-> Programmed RVA stimulation (500 S2), reproducible induction of clinical VT
I
II
III
aVR
aVL
aVF
V1
V2
V3
V4
V5
V6
How to start an Electrophysiology iCMR program

## Slide 9
LAO
LL
epicardial
epicardial
Vision: bringing the intervention “to the image”
How to start an Electrophysiology iCMR program

## Slide 10
cine: lateral hypokinesis
EGE: focal microvascular obstruction
scar: nearly transmural lateral scar
EGE: early gadolinium enhancement
cine
EGE
scar
Images:
iCMR Heart Center Leipzig
CMR post-ablation: microvascular obstruction
How to start an Electrophysiology iCMR program
Notes: EGE: 2-3min nach KM Gabe

## Slide 11
What do you need?
1.) Objective
2.) Scanner
3.) EP equipment
4.) Patients
5.) Patience
How to start an Electrophysiology iCMR program
Notes: 11

## Slide 12
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 13
What do you need?
1.) Objective
2.) Scanner
3.) EP equipment
4.) Patients
5.) Patience
How to start an Electrophysiology iCMR program
Notes: 13

## Slide 14
Hilbert, Sommer. Europace Aug. 2015
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 15
Intracardiac ECG
dStream interface
for active catheters
iCMR monitor (iSuite display)
footpedal (iSuite)
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 16
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 17
CMR Operator
Respirator
Infusions
EKG Monitoring
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 18
Optoaccust. Headsets
IMROC™ optical fiber-based communication system
Field-proven reliability @ 1.5 Tesla
Crisp, clear speech with very low latency
Automatic noise reduction/noise cancellation
External Microphone
Setup for EP interventions in Leipzig
How to start an Electrophysiology iCMR program

## Slide 19
Initial signal quality in CMR procedures
RVA
RVA
HRA
HRA
RVA
HRA
No filter
With filter
During RV pacing
Sommer. Europace 2012
How to start an Electrophysiology iCMR program
Notes: As I have already demonstrated the importance of signal quality for EP procedures I´d like to show you examples of initial signals we dealt with and the improvement with filtering.
On both catheters (upper tracing, yellow: right atrium and lower tracing, blue: right ventricle) noise is detected limiting signal quality during magnetic resonance imaging activity (A). With noise reduction algorithms there are clear signals from both catheters (B). Both recordings were performed during magnetic resonance imaging scanning.
Pacing maneuvers from RVA (blue) catheter; during incremental ventricular pacing there was no conduction from the ventricular pacing site to the atrium: VA-block. RVA, right
ventricular apex; VA block, ventriculo-atrial block.
The signal quality (see Figures 5 and 6) does not yet allow interpretation of small potentials like HIS-electrograms in all patients; further improvements must be made in order to suppress noise and to enhance small potential electrograms registered by MRI compatible EP catheters.

## Slide 20: CMR Compatible EP Devices
Vision MRTM Ablation Catheter
Advantage MRTM EP Recorder/Stimulator
Approved for investigational use in Europe only
How to start an Electrophysiology iCMR program

## Slide 21: Imricor catheter design ("Microcoils")
How to start an Electrophysiology iCMR program

## Slide 22
What do you need?
1.) Objective
2.) Scanner
3.) EP equipment
4.) Patients
5.) Patience
How to start an Electrophysiology iCMR program
Notes: 22

## Slide 23
„Substrat-based“ interventions @ HCL
How to start an Electrophysiology iCMR program

## Slide 24
What do you need?
1.) Objective
2.) Scanner
3.) EP equipment
4.) Patients
5.) Patience
How to start an Electrophysiology iCMR program
Notes: 24

## Slide 25: Passive Tracking - Interactive RealTime CMR
Passive Catheter Visualization
RealTime CMR ("fluoroscopy")
High Resolution Cine CMR ("confirmation scan")
Images:
iCMR Heart Center Leipzig
How to start an Electrophysiology iCMR program

## Slide 26: Passive Tracking RA & transseptal LA
Images:
iCMR Heart Center Leipzig
How to start an Electrophysiology iCMR program

## Slide 27: Passive und active tracking in RV
Images:
iCMR Heart Center Leipzig
How to start an Electrophysiology iCMR program

## Slide 28
Conclusion:
Today, CMR is a very helpful and radiation-free imaging modality that supports complex ablation procedures, especially the „substrate based ablations“ (AF&VT).
First steps have been made to preform easy procedures completely MR-guided. These procedures have proven to be safe, but not yet as efficious as in conventional EP labs.
Technological innovations are needed to make further steps (defibrillators, catheters, mapping systems etc.)
The potential advantages of CMR technology are so attractive that it‘s worth going on pioneering…
How to start an Electrophysiology iCMR program
Notes: In conclusion Pre- an postinterventional MRI is routinely performed in clinical practice as it provides significant additional informations especially with respect to substrate analysis.
For better passive tracking of the Vision catheter the ferrous marker will replace the inductive coil as tip marker in the future. In addition it is interesting to experiment with much thicker imaging planes or even real-time MIP in order to produce summation images (like fluoroscopy). However, ultimately active tracking is likely to be needed and can be achieved two ways: (i) using scanner algorithms together with MR tracking coils on the Vision catheter, or (ii) bringing MR compatible versions of existing EP tracking technologies (Carto, NavX) into the magnet room.

## Slide 29: CMR procedures can be very satisfying…
During intervention….
After successful intervention…
How to start an Electrophysiology iCMR program

## Slide 30
Voting question:
Where do you see CMR imaging in EP 2026?
1.) Preprocedural imaging in all complex arrhythmia cases
2.) Mostly CT, few CMR.
3.) CMR will have disappeared.
4.) Simple ablations will be performed in iCMR.
5.) All ablation procedures will be performed in iCMR.
How to start an Electrophysiology iCMR program
Notes: 30

## Slide 31
MRI interventional suites: far away?
Thank you!
philipp.sommer@helios-kliniken.de
Notes: In conclusion Pre- an postinterventional MRI is routinely performed in clinical practice as it provides significant additional informations especially with respect to substrate analysis.
For better passive tracking of the Vision catheter the ferrous marker will replace the inductive coil as tip marker in the future. In addition it is interesting to experiment with much thicker imaging planes or even real-time MIP in order to produce summation images (like fluoroscopy). However, ultimately active tracking is likely to be needed and can be achieved two ways: (i) using scanner algorithms together with MR tracking coils on the Vision catheter, or (ii) bringing MR compatible versions of existing EP tracking technologies (Carto, NavX) into the magnet room.