## Slide 1: VISION by Outsider: What I need to do?
Professor Pediatrics, Division of Cardiology
Director of Cardiac Cath lab,
Rady Children's Hospital,
UCSD, San Diego
Howaida El-Said, MD

## Slide 2
I have no disclosures

## Slide 4
Dark side
Negotiator Guardian
Both
Dark & Light side techniques

## Slide 5: Radiation
Dark side

## Slide 6: Radiation
Cancer
Left brain hemisphere tumors
Cataract
DNA damage

## Slide 7
“Internationalist Disc Disease”
Back, neck, hip problems
Physicians with more than 20 years of experience have a very high rate of back pain (60%)

## Slide 8: MRI
Negotiator Guardian

## Slide 9: Advantages of MRI
No ionizing radiation
High resolution and 3D images of the cardiac chambers and thoracic vessels.
MRI is also less operator dependant than echocardiography.
SSFP techniques can be used to assess global and regional ventricular contractile function, including the more difficult to assess right ventricle.
Measure blood flow.
MRI does not have the weakness of geometric assumptions (as do angiography and 2-D echocardiography) in assessing ventricular volumes.

## Slide 10
Master’s of Engineering
Khaled
El-Said
2002

## Slide 11: Stereolithographic modeling from MRI

## Slide 12: Adjacent structures!!

## Slide 14: Bronchial Compression

## Slide 17: First report
Pediatric Anesthesia 2005

## Slide 18
Cardiovascular Interventions 2009

## Slide 19
Review of stents placed from August 2005 until November 2007
120 pts who received 147 stents
Those who had CT angiography (CTA) were analyzed

## Slide 20
Indications for post-stent CTA imaging
  Inability to wean from ventilator support
  Persistent coughing episodes
  Continued hypoxia
  Follow-up study after complex repairs
Notes: Indications for post-stent CTA imaging included inability to wean from ventilator support, persistent coughing episodes, continued hypoxia, and follow-up study after complex repairs.

## Slide 21
21/120 pts underwent post-stent CTA
Age: median 10 m (1 d-17 y)
Wt: median 7.3 kg (2.7-80 kg)
22 stents were implanted in 21 pts
Stent length (8-38 mm)
Diameter (6-18 mm)
Notes: 21 of 120 patients underwent post-stent placement CTA.
There were 11 males and 10 females with an age range of 1 day to 17 years (median 10.5 months, mean 5 years 6 months), and a weight range of 2.7 to 80 kg (median 7.3 kg, mean 19.4 kg).
22 stents were implanted in the 21 patients, including 20 Palmaz Genesis Stents, 1 eV3 Max LD stent, and 1 Atrium Covered Stent
Unexpanded stent lengths ranged from 8 to 38 mm and inflation diameters ranged from 6 to 18 mm.

## Slide 22
6/21 (29%) had bronchial compression
5/21 (23%) had significant, clinically apparent adverse events from stent bronchial compression, one patient was asymptomatic
At least 5% (6/120) of all stented pts had bronchial compression

## Slide 23
2/6 pts expired as a result of this complication
Of the 4 surviving pts
  1 required a tracheostomy
  1 was asymptomatic
  2 required slow weaning from mechanical ventilation (9,16 days)

## Slide 24: Results

## Slide 25
5/6 (83%) had aortic arch anomalies and subsequent arch reconstruction or hybrid interventions

## Slide 26: The geometry
LPA
Br

## Slide 27: The geometry
LPA
Br

## Slide 28: The geometry
LPA
Br
Peak
Dome

## Slide 29
Stent in proximal LPA compresses Left bronchus

## Slide 30
Stent in distal LPA compresses Left bronchus

## Slide 31
Stent in RPA compresses Left bronchus

## Slide 32
Stent CoA

## Slide 33: Worst Scenario!
Arch repair (geometry change)
Stent of CoA
Stent of branch PA (especially the left)

## Slide 34: Dilated aortic root
LPA
Br

## Slide 36: What did we find?
Unexpected incidence of clinically significant bronchial compression (Br comp) from stents
29% of pts with stents who had a CTA had Br comp
At least 5% of all stented pts have Br comp
More likely with arch re-construction
Notes: This review revealed an unexpected incidence of clinically significant bronchial compression: 29% among patients who obtained a CTA, and 5% among all patients who received stents. This finding suggests that airway compression by implanted stents may be more common than previously thought. Five of the six patients with documented airway compression had respiratory symptoms. In one patient, airway compression was an incidental finding as the patient was asymptomatic and underwent CTA as a part of a preoperative workup.

## Slide 37: Decided to do something about it!!

## Slide 38: Warning!
Arch reconstruction

## Slide 39: Better visualization

## Slide 43: Goal
To limit airway narrowing by endovascular
stenting, by using simultaneous flexible
bronchoscopy and graduated balloon stent
dilation

## Slide 44: Two Scenarios
Denovo stenting
Re-dilation of pre-existing stent

## Slide 45: Denovo Stenting:

## Slide 50: Re-dilation Of Pre-existing Stent

## Slide 58: Conclusion
In cases at risk for airway compromise, flexible bronchoscopy is a useful tool to guide endovascular stenting.
Maximum safe stent diameter can be determined without risking catastrophic airway compression.

## Slide 59
Both
Dark & Light side techniques

## Slide 62: Dream Team!
“Dream Until Your Dreams Come True”

## Slide 63
Thank You