## Slide 1: Transcatheter myocardial needle chemoablation during real-time MRI: a new approach to ablation therapy for rhythm disorders
Toby Rogers1, Srijoy Mahapatra2, Steven Kim2, Michael Eckhaus3, William H Schenke1, Jonathan R Mazal1, Adrienne E Campbell-Washburn1, Merdim Sonmez1, Anthony Z Faranesh1, Kanishka Ratnayaka1, Robert J Lederman1
1National Heart, Lung and Blood Institute, National Institutes of Health, Bethesda, MD, United States; 2St Jude Medical, St Paul, MN; 3Division of Veterinary Resources, National Institutes of Health, Bethesda, MD

## Slide 2: Disclosures
Srijoy Mahapatra and Steven Kim are employees of St Jude Medical
All other authors report no disclosures.

## Slide 3: Limitations of RF ablation
Transmurality of ablation
Inability to visualize lesions
Edematous penumbra
Late gadolinium enhancement
Pre-contrast T2w
Kholmovski, ISMRM 2015

## Slide 4: Real-time MRI guided chemoablation

## Slide 5
Ethanol
Acetic Acid
Acute chemoablation lesions

## Slide 6: Chronic acetic acid lesion
(20x)

## Slide 7: Chronic acetic acid lesion

## Slide 8: Animal model of conductive isthmus
Two non-contiguous infarcts
Animals survived for 12(8-15) days
Late gadolinium enhancement

## Slide 9: Isthmus chemoablation
Series of 0.6mL injections (max 5 per animal)
Macrocyclic gadolinium based contrast agent (Gadoterate) is stable at low pH
No change in serum pH or anion gap
Late gadolinium enhancement

## Slide 10: Isthmus chemoablation
Ex-vivo
Masson trichrome

## Slide 11: Isthmus chemoablation

## Slide 12: Isthmus chemoablation

## Slide 13: Epicardial voltage mapping (baseline)

## Slide 14: Epicardial voltage mapping (post chemoablation)

## Slide 15: Conclusions
Real-time MRI guided myocardial chemoablation:
  Substrate guided targeted ablation
  Instantaneous depiction of ablation lesions
  Irreversible necrosis
  Transmural ablation lesions
Anatomical lesion corresponds with functional ablation in an animal model

## Slide 16: Acknowledgements
Robert Lederman
Kanishka Ratnayaka
Anthony Faranesh
William Schenke
Jonathan Mazal
Jaffar Khan
Elena Grant
Adrienne Campbell-Washburn
Peter Kellman
Laurie Grant
Annette Stine
Merdim Sonmez
Ozgur Kocaturk
Michael Hansen
Marcus Chen
Burcu Basar
St Jude Medical
Srijoy Mahapatra
NHLBI, National Institutes of Health
Collaborators
Steven Kim