## Slide 1
Amish N. Raval MD
Associate Professor of Medicine
and Biomedical Engineering
U. Wisconsin School of Medicine and Public Health
anr@medicine.wisc.edu
When I could have
really used ICMR!

## Slide 2
Valve
Vessels
Chambers
Para-valvular regurgitation
Coronary artery – Coronary Sinus fistula
Therapeutic Transendocardial Injection
Replacement
Repair
Aortic coarctation repair
Aortic aneurysm repair
Pulmonary Embolectomy
Ventricular remodeling therapy
Left Atrial Appendage Exclusion
Structural Heart Interventions

## Slide 3
Valve
Vessels
Chambers
Para-valvular regurgitation
Coronary artery – Coronary Sinus fistula
Therapeutic Transendocardial Injection
Replacement
Repair
Aortic coarctation repair
Aortic aneurysm repair
Pulmonary Embolectomy
Ventricular remodeling therapy
Left Atrial Appendage Exclusion
Structural Heart Interventions

## Slide 4
78 yo man
2000 - CABG x 3
2012 - Aortic Valve Replacement
4/2014 - Bacterial Endocarditis
- Sinus of Valsalva Aneurysm
- dehisced valve + severe para-valvular leak
- NYHA class IV heart failure
27mm Hancock II
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 5
GE MR FFS 256x256x16
Flip 60, TR 3.21, TE 1.0
Hancock II
Aortic Valve
Prosthesis
Sinus of Valsalva
Aneurysm (NCC)
Systolic para-prosthetic jet
Severe AI, dehisced valve
TEE
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 6
11/2014
Partial root reconstruction with synthetic patch (Aortic root “curtain”)
Severe para-valvular leak closure of dehisced prosthetic aortic valve

## Slide 7
Post op complete heart block – requiring a permanent pacemaker
Post op severe LVEF (25%)
Post op acute renal injury (GFR <25 mL/min)
Referred to UW for transcatheter closure of paravalvular leak
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 8
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 9
2/23/2015
Procedure time: 3h 15 min
Fluoro time: 87 minutes
Skin dose: 748400 mGy/cm2
Contrast dose: 180 mL Iohexal
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 10
2/23/2015
“Severe paravalvuvlar regurgitation”
16mm Muscular VSD
Occluder
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 11
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 12
3/10/2015 (moderate sedation – no TEE)
“Moderate paravalvular regurgitation”
Procedure time: 2h 11 min
Fluoro time: 22 minutes
Skin dose: 191228 mGy/cm2
Contrast dose: 50 mL Omnipaque
20 mm VP2
16 mm VP2
16 mm VSD
Case#1 Paravalvular leak closure of dehisced prosthetic aortic valve

## Slide 13
Case#2 RCA to Coronary Sinus Fistula causing Right sided heart failure
81 yo woman
Right sided heart failure
Severe RV enlargement
Recurrent pleural effusions
Not a surgical candidate

## Slide 14
RCA
RCA?
RCA
CS?
RV
RCA to CS connection
(measured diameter 4mm)
d
Case#2 RCA to Coronary Sinus Fistula causing Right sided heart failure

## Slide 15
09/14/2016
8 mm VP4
St. Jude Medical
Goose-neck Snare Retrieval
of Embolized VP4 from
L Pulm Artery
Case#2 RCA to Coronary Sinus Fistula causing Right sided heart failure

## Slide 16
09/14/2016
20 mm
Tornado Coils (Cook Medical)
*platinum-based
Procedure time: 2h 02 min
Fluoro time: 72 minutes
Skin dose: 33320 mGy/cm2
Contrast dose: 185 mL Iohexal
RCA to Coronary Sinus Fistula causing Right sided heart failure

## Slide 17
09/19/2016
Barium Esophagram
Next several days. . .
High flow through fistula
Severe hemolysis
Painful swallowing!!
Case#2 RCA to Coronary Sinus Fistula causing Right sided heart failure

## Slide 18
09/20/2016
Cook MReye Coils 20 mm (6)
*non-ferromagnetic
Procedure time: 3h 04 min
Fluoro time: 91 minutes
Skin dose: 288898 mGy/cm2
Contrast dose: 105 mL Iohexal
Case#2 RCA to Coronary Sinus Fistula causing Right sided heart failure

## Slide 19
90 yo man
CCS class II refractory angina
Prior CABG/stents
Excellent medical therapy
No revascularization options
Enrolled in a stem cell therapy trial
SPECT
Inferior ischemia
stress
rest
rest
stress
Case#3 Stem cell revascularization – Transendocardial Injection

## Slide 20
NOGA XP
Myostar
1 hour to map – unstable arrhythmias
No PVC’s could be induced with needle deployment
No unipolar ST segment elevation with catheter tip engagement
RAO projection
LAO projection
Case#3 Stem cell revascularization – Transendocardial Injection
Notes: Advantages: prospectively tracks the catheter, voltage potential information, less radiation dose, extensive real world experience.
Disadvantages: time to create a map, no respiratory motion compension

## Slide 21
Large Pleural
Effusion!!
6h Post Procedure
Pre-procedure
Rx: Chest tube
and good as new!
4d Post Procedure
Case#3 Stem cell revascularization – Transendocardial Injection

## Slide 22
Valves
Vessels
Chambers
Horvath K.A. Eur J CT Surg 2011
TAVR- Transapical
Raval et al. CCI 2006
Atrial septal puncture and septostomy
Aortic Coarctation stenting
Raval et al. Circulation 2005
Ratnayaka et al. JACC Card Int 2016
Cavo pulm shunt
Kahlert P et al. JCMR 2012
TAVR- Transfemoral

## Slide 23
Thank you for your attention!
Madison, WI