## Slide 1: Saman Nazarian, MD, PhD Cardiac Electrophysiology University of Pennsylvania Perelman School of Medicine
MR Guided Interventional Electrophysiology
Initial Targets

## Slide 2: Disclosures
Scientific Advisor
  Biosense Webster, Inc
  St Jude Medical, Inc
  CardioSolv, Inc
Research Grants
  NIH R01HL116280
  Biosense Webster, Inc

## Slide 3: Fluoroscopy
Advantages
  Familiar views and landmarks for catheter positioning
  No need for image registration
Disadvantages
  Ionizing radiation
  Lack of soft tissue resolution
Heart Rhythm. 2007 Dec;4(12):1582

## Slide 4: Reentrant Arrhythmia Ablation
The substrate for reentry
  Slowly conducting diseased myocardium
  Perpetuates circuit reentry
The purpose of ablation
  To destroy the diseased myocardial substrate necessary for reentry

## Slide 5: The Arrhythmia Substrate is Not Directly Visualized
Point-by-point acquired intra-cardiac electrograms are used to identify scar
  Time α complications
  Papillary muscles, trabeculae, and fat
  Choice of surface to map
Endocardial Mapping
Catheter
Epicardial Mapping
Catheter

## Slide 6: Characterization of the Ventricular Substrate
Bipolar Voltage
Unipolar Voltage
EGM Duration
EGM Deflections
Non-Invasive 3D
Predicted Map
Invasive
Electro-anatomic
Map
Sasaki, Nazarian et al. Circulation A&E 2012;5:1081-1090

## Slide 7: Monitoring for Complications
AF ablation
  Trans atrial septal puncture
  Circumferential ablation around pulmonary veins

## Slide 8: Utility of MRI for EP Applications
No ionizing radiation
Accurate anatomic catheter guidance
No susceptibility to patient movement
Avoidance of ablation in thin walled regions
Real-time monitoring of adjacent organs and potential complications
Arrhythmia substrate identification

## Slide 9: MR Catheter Guidance is a Reality
  Circulation. 2008; 118: 223-229
Real-time GRE sequence (repetition time, 10 ms; echo time, 4.4 ms; flipangle, 20°; field of view, 24 to 30 cm; slice thickness, 10 mm; matrix, 25696)

## Slide 10: Next Target Characterization of the Atrial Substrate
Heart Rhythm. 2014 Jan;11(1):85-92

## Slide 11: Real Time Lesion Visualization
Late Gadolinium
Enhancement
Time
Intensity
Blood Pool
Normal
Scar
10-20 minutes
Contrast
Injection
Khurram, Nazarian, et al. Pacing Clin Electrophysiol. 2015 Nov;38(11):1317-24

## Slide 12
DEMRI
Path
Temperature Evolution
Proton precession rate is temperature sensitive
MRI Thermography
Kolandaivelu et al. Circ Arrhythm Electrophysiol. 2010 Oct;3(5):521-9

## Slide 13: Summary
Initial targets
  Catheter Guidance and ablation in flutter
  Catheter Guidance and ablation in complex cases
Next Targets
  Reliable characterization of thin walled tissues
  Real-time lesion visualization and Thermometry

## Slide 14: Acknowledgements
Fellows & Residents
  Ali Habibi
  Esra Gucuk Ipek
  Eunis Yang
  Irfan Khurram
  Kotaro Fukumoto
  Jonathan Chrispin
  Sohail Zahid
  Amir Rahsepar
  Eunice Yang
  Yuliya Mints
Research Coordinators
  Nissi Saju
  Rozann Hansford
Faculty
  Stefan Zimmerman – Radiology JHU
  Benoit Desjardin – Radiology Penn
  Walter Witschey – Radiology Penn
  Joao Lima – Cardiology JHU
  David Bluemke – Radiology NIH CC
  Frank Marchlinski – EP Penn
  David allans – EP Penn
  Henry Halperin – EP JHU
  Hugh Calkins – EP JHU
  Ron Berger – EP JHU
  Natalia Trayanova – BME JHU
  Vadim Zipunnikov – Biostatistics JHU
Funding
  NIH - R01HL116280
  PCORI – PATH and ADAPTABLE
  Biosense Webster Inc.