## Slide 1: Clinical Update on the use of iCMR at Texas Children’s Hospital
Cory V. Noel, M.D.
Assistant Professor – Director of Cardiac MRI
Pediatric Cardiology

## Slide 2: No Disclosures
…other than we have not actually performed a MRI-guided cardiac catheterization

## Slide 3: Outline
TCH experience…through eyes of a lowly clinician
Overall goals of the program
Pitfalls and words of caution

## Slide 4: Timeline

## Slide 5: TCH Expansion

## Slide 6: iCMR as part of New Building Advantages
Funding should be more than adequate…to an extent
Freedom in the design and layout

## Slide 7: iCMR part of New Building Disdvantages
Where is iCMR?

## Slide 8: iCMR part of New Building Disdvantages
∞

## Slide 9: Getting Started
iCMR course at NIH / Children’s National - 2016
SCMR pre-conference courses
Identifying goals

## Slide 10: Identifying Goals
Step-wise approach to MRI-guided catheterization
Which population could receive great benefit at the lowest risk for a novel program
  Endomyocardial biopsy versus pulmonary hypertension

## Slide 11: Simulation Center

## Slide 12: Preparation Pitfalls

## Slide 13: Preparation Pitfalls
Need a point person who is aware of all aspects related to iCMR with it their primary focus
  Multiple vendors
  Safety issues and approval
  Unique aspects not relatable to other projects
  Can centralize the meetings
Active site visit not completed

## Slide 14: Finished Product

## Slide 15: 3 Step Approach
Cardiac MRI to catheterization laboratory
Cardiac catheterization laboratory to MRI suite
Cardiac MRI-guided catheterization

## Slide 16: 12 y/o ccTGA, Ebsteinoid valve
RVEDVi – 113 mL / m^2
LVEDVi – 89 mL / m^2
LV Mass 45 gm / m^2
Qp:Qs of 1.9:1

## Slide 17: 16 y/o unbalanced AVSD, s/p Fontan
No significant A-P collateral burden
Qp:Qs of 0.8:1
Closure of Fontan fenestration

## Slide 18: 6 y/o coronary artery fistula
Moderately dilated right coronary artery
Normal myocardial perfusion
Cath angiography demonstrates small, pulsatile egress into left ventricle; no intervention performed

## Slide 19: 1 y/o DORV, s/p BT shunt & atrial stent
Right and left heart hemodynamic catheterization
Qp:Qs of 0.8:1
Baffling of left ventricle to anterior aorta is unlikely to be successful
Nikaidoh procedure planned

## Slide 20: Meeting prior to each case
Define roles and objectives
Discuss contingency plans
Identify small issues that may be preventable
Prevent “discovery rounds”

## Slide 21: Continued Learning - Monitoring

## Slide 22: Continued Learning - Transitioning

## Slide 23: Continued Learning - Transitioning

## Slide 24: Continued Learning - Transitioning

## Slide 25: Conclusion
Need a leader in each area
Well defined goals and objectives can tighten focus
Regular meetings continues to identify problem areas prior to disruption
Step-wise approach allows a more manageable schedule

## Slide 26: Thank you
Notes:   Text
    Text
      Text
        Text